south coast air quality management district

Final Environmental Assessment:

Proposed Amended Rule 1146.2 – Emissions of Oxides of Nitrogen from Large Water
  Heaters and Small Boilers and Process Heaters

April 2006

SCAQMD No. 032206BAR

Executive Officer
Barry R. Wallerstein, D. Env.

Deputy Executive Officer
Planning, Rule Development and Area Sources
Elaine Chang, DrPH

Assistant Deputy Executive Officer
Planning, Rules, and Area Sources
Laki Tisopulos, Ph.D., P.E.

Planning and Rules Manager
Planning, Rule Development and Area Sources
Susan Nakamura

Author:	Barbara Radlein	Air Quality Specialist

Technical	
Assistance:	Wayne Barcikowski	Air Quality Specialist

Reviewed By:	Steve Smith, Ph.D.	Program Supervisor, CEQA

Gary Quinn, P.E.	Program Supervisor, Planning, Rules, and Area Sources

Joe Cassmassi	Manager, Planning, Rules, and Area Sources

William Wong	Senior Deputy District Counsel

South coast air quality management district

##### governing board

CHAIRMAN:	WILLIAM A. BURKE, Ed.D.

Speaker of the Assembly Appointee

VICE CHAIRMAN:	S. ROY WILSON, Ed.D.

Supervisor, Fourth District

Riverside County Representative

MEMBERS:

MICHAEL D. ANTONOVICH

Supervisor, Fifth District

Los Angeles County Representative

JANE W. CARNEY

Senate Rules Committee Appointee

BEATRICE J.S. LAPISTO-KIRTLEY

Mayor, City of Bradbury

Cities Representative, Los Angeles County, Eastern Region

RONALD O. LOVERIDGE

Mayor, City of Riverside

Cities Representative, Riverside County

GARY OVITT

Supervisor, Fourth District

San Bernardino County Representative

JAN PERRY

Councilmember, Ninth District

Cities Representative, Los Angeles County, Western Region

MIGUEL A. PULIDO

Mayor, City of Santa Ana

Cities Representative, Orange County

JAMES SILVA

Supervisor, Second District

Orange County Representative

CYNTHIA VERDUGO-PERALTA

Governor's Appointee

DENNIS YATES

Mayor, City of Chino

Cities Representative, San Bernardino County

EXECUTIVE OFFICER:

BARRY R. WALLERSTEIN, D.Env.

PREFACE

This document constitutes the Final Environmental Assessment (EA) for Proposed Amended Rule 1146.2 – Emissions of Oxides of Nitrogen from Large Water Heaters and Small Boilers and Process Heaters.  The Draft EA was released for a 30-day public review and comment period from March 23, 2006 to April 21, 2006.  No comment letters were received from the public.

To ease in identification, modifications to the document are included as underlined text and text removed from the document is indicated by strikethrough.  None of the modifications alter any conclusions reached in the Draft EA, nor provide new information of substantial importance relative to the Draft document.  As a result, these minor revisions do not require recirculation of the document pursuant to CEQA Guidelines §15073.5.  This document constitutes the Final Environmental Assessment (EA) for the Proposed Amended Rule 1146.2 – Emissions of Oxides of Nitrogen from Large Water Heaters and Small Boilers and Process Heaters.

Table of contents

CHAPTER 1 - PROJECT DESCRIPTION

Introduction		1-1

California Environmental Quality Act		1-2

Project Location		1-2

Project Objective		1-3

Project Background		1-4

Project Description		1-4

CHAPTER 2 - ENVIRONMENTAL CHECKLIST

Introduction		2-1

General Information		2-1

Environmental Factors Potentially Affected		2-2

Determination		2-3

Environmental Checklist and Discussion		2-4

APPENDIX A - PROPOSED AMENDED RULE 1146.2

LIST OF FIGURES

Figure 1-1 – South Coast Air Quality Management District	1-3

LIST OF TABLES

Table 2-1 – Air Quality Significance Thresholds	2-8

Table 2-2 – Current and Proposed Requirements for Combustion
                   Units Subject to Rule 1146.2	2-11

Table 2-3 – Baseline Emission Inventory for Equipment Subject to
                   Rule 1146.2	2-11

Table 2-4 – Future NOx Emission Inventory for Equipment Subject
                   to PAR 1146.2	2-12

Table 2-5 – Projected Emission Reductions Attributable to 
                   PAR 1146.2	2-12

C H A P T E R   1  -  P R O J E C T   D E S C R I P T I O N

Introduction

California Environmental Quality Act

Project Location

Project Objective

Project Background

Project Description

# INTRODUCTION

The California Legislature created the South Coast Air Quality Management District (SCAQMD) in 1977 as the agency responsible for developing and enforcing air pollution control rules and regulations in the South Coast Air Basin (Basin) and portions of the Salton Sea Air Basin and Mojave Desert Air Basin (collectively known as the “district”).  By statute, the SCAQMD is required to adopt an air quality management plan (AQMP) demonstrating compliance with all federal and state ambient air quality standards for the district.  Furthermore, the SCAQMD must adopt rules and regulations that carry out the AQMP.  The 2003 AQMP concluded that major reductions in criteria pollutant emissions of volatile organic compounds (VOCs) and oxides of nitrogen (NOx) are necessary to attain the air quality standards for ozone and particulate matter (PM10 and PM2.5).

At the time of its adoption on January 9, 1998, Rule 1146.2 – Emissions of Oxides of Nitrogen from Large Water Heaters and Small Boilers, was developed to reduce nine tons per day of NOx emissions, in accordance with control measure CMB-02B of the 1997 AQMP, from large water heaters and small boilers with heat input ratings between 75,000 and two million British Thermal Units per hour (BTU/hr).  Resulting NOx emission reductions from Rule 1146.2 were estimated to be nine tons per day.  Rule 1146.2 also contained requirements for installing best available control technology (BACT) for new sources and best available retrofit control technology (BARCT) for existing sources in accordance with Health and Safety Code §40440(b).  In the 2003 AQMP, control measure CMB-10: Additional Reductions for NOx RECLAIM contained control strategies that overlay multiple source-specific regulations, including Rule 1146.2, with estimated NOx emission reductions of three tons per day by 2010.  Rule 1146.2 was later amended on January 7, 2005 to delay the compliance dates for retrofitting existing equipment with BARCT until a specific unit turned 15 years old.  Delaying the compliance dates for BARCT retrofits resulted in achieving fewer NOx emission reductions than originally projected for the years 2005 through 2014.

The objective of the currently proposed amendments to Rule 1146.2 (PAR 1146.2) is to reduce the NOx emission limits with technically feasible and cost-effective controls for all new equipment, except small pool heaters with heat input ratings less than or equal to 400,000 BTU/hr.  The proposed amendments are expected to recover some of the NOx emission reductions foregone that resulted from the previous amendments to Rule 1146.2.  PAR 1146.2 is expected to achieve annual reductions beginning in 2010, culminating in an overall reduction of 1.8 tons per day of NOx emissions by January 1, 2027 by requiring:  1) Type 2 units (equipment with a heat input rating greater than 400,000 BTU/hr) to meet a NOx emission limit of 20 ppm on or after January 1, 2010; and 2) Type 1 units (equipment with a heat input rating equivalent to or less than 400,000 BTU/hr) to meet a NOx emission limit of 20 ppm on or after January 1, 2012.  Other changes are proposed throughout PAR 1146.2 that:  1) provide more detailed specifications for demonstrating compliance with an existing exemption from retrofit requirements for equipment operating less than 9,000 therms per year; 2) clarify rule applicability; 3) include a specific recordkeeping requirement for larger units; 4) enhance compliance and enforceability; and, 5) improve clarity.

# california environmental quality act

PAR 1146.2 regulates NOx emissions from natural gas-fire water heaters, boilers and process heaters that have a rated heat input capacity of less than or equal to two million BTU/hr and, therefore, is a “project” as defined by the California Environmental Quality Act (CEQA).  SCAQMD is the lead agency for the proposed project and has prepared this Final Environmental Assessment (EA) with no significant adverse impacts pursuant to its Certified Regulatory Program.  California Public Resources Code §21080.5 allows public agencies with regulatory programs to prepare a plan or other written document in lieu of an environmental impact report once the Secretary of the Resources Agency has certified the regulatory program.  SCAQMD's regulatory program was certified by the Secretary of the Resources Agency on March 1, 1989, and is codified as SCAQMD Rule 110.  Pursuant to Rule 110, SCAQMD has prepared this Final EA.

CEQA and Rule 110 require that potential adverse environmental impacts of proposed projects be evaluated and that feasible methods to reduce or avoid significant adverse environmental impacts of these projects be identified.  To fulfill the purpose and intent of CEQA, the SCAQMD has prepared this Final EA to address the potential adverse environmental impacts associated with the proposed project.  The Final EA is a public disclosure document intended to:  (a) provide the lead agency, responsible agencies, decision makers and the general public with information on the environmental effects of the proposed project; and, (b) be used as a tool by decision makers to facilitate decision making on the proposed project.

SCAQMD’s review of the proposed project shows that the project would not have a significant adverse effect on the environment.  No comments were received on the Draft EA during the 30-day public review period (from March 23, 2006 to April 21, 2006).  Prior to making a decision on the proposed amendments, the SCAQMD Governing Board must review and certify that the Final EA complies with CEQA as providing adequate information on the potential adverse environmental impacts of the proposed amended rule.  Therefore, pursuant to CEQA Guidelines §15252, no alternatives or mitigation measures are required to be included in this Final EA.  The analysis in Chapter 2 supports the conclusion of no significant adverse environmental impacts.

# project location

PAR 1146.2 would apply to natural gas-fired commercial water heaters, small commercial and  industrial boilers, and process heaters with rated heat inputs at less than or equal to two million BTU/hr operated at various facilities located throughout the SCAQMD’s jurisdiction.  The SCAQMD has jurisdiction over an area of 10,473 square miles, consisting of the four-county South Coast Air Basin (Basin) and the Riverside County portions of the Salton Sea Air Basin (SSAB) and the Mojave Desert Air Basin (MDAB).  The Basin, which is a subarea of the district, is bounded by the Pacific Ocean to the west and the San Gabriel, San Bernardino, and San Jacinto Mountains to the north and east.  The 6,745 square-mile Basin includes all of Orange County and the non-desert portions of Los Angeles, Riverside, and San Bernardino counties.  The Riverside County portion of the SSAB and MDAB is bounded by the San Jacinto Mountains in the west and spans eastward up to the Palo Verde Valley.  The federal non-attainment area (known as the Coachella Valley Planning Area) is a subregion of both Riverside County and the SSAB and is bounded by the San Jacinto Mountains to the west and the eastern boundary of the Coachella Valley to the east (Figure 1-1).

Figure 1-1
Boundaries of the South Coast Air Quality Management District

# project OBJECTIVE

The objective of PAR 1146.2 is to reduce NOx emission limits for new equipment, except for small pool heaters rated less than or equal to 400,000 BTU per hour.  Beginning in 2010, PAR 1146.2 is expected to offset these previous NOx emission reductions foregone plus additional annual reductions, culminating in an overall reduction of 1.8 tons per day of NOx emissions by January 1, 2027, by requiring:  1) Type 2 units (equipment with a heat input rating greater than 400,000 BTU/hr) to meet a NOx emission limit of 20 ppm on or after January 1, 2010; and 2) Type 1 units (equipment with a heat input rating equivalent to or less than 400,000 BTU/hr) to meet a NOx emission limit of 20 ppm on or after January 1, 2012.  Of these overall NOx emission reductions, 1.2 tons per day will be new net emission reductions and 0.6 ton per day are expected to offset the NOx emission reductions foregone, between compliance years 2010 and 2014, resulting from the previous amendments to Rule 1146.2 that were adopted on January 7, 2005.  Other changes are proposed throughout PAR 1146.2 that:  1) provide more detailed specifications for demonstrating compliance with an existing exemption from retrofit requirements for equipment operating less than 9,000 therms per year; 2) clarify rule applicability; 3) include a specific recordkeeping requirement for larger units; 4) enhance compliance and enforceability; and, 5) improve clarity.

# project BACKGROUND

The current version of Rule 1146.2 has requirements for installing best available control technology (BACT) for new sources and best available retrofit control technology (BARCT) for existing sources in accordance with Health and Safety Code §40440(b).  These requirements are applicable to both manufacturers and operators of new and existing natural gas-fire large commercial water heaters, small industrial boilers, and process heaters to comply with a NOx emission limit, and in some cases a CO emission limit.  The emission limits vary by the type and category of equipment, the heat input ratings, and the manufacture date.  For example, any new water heater, boiler or process heater with a heat input rating less than or equal to 400,000 BTU/hr, referred to as a “new Type 1 unit,” was required to comply with a NOx emission limit of 55 ppm or 40 nanograms per Joule (ng/J) by January 1, 2001.  Similarly, the same type of equipment but with a heat input rating greater than 400,000 BTU/hr, referred to as a “new Type 2 unit,” was required to meet an emission limit of 30 ppm NOx and 400 ppm CO by January 1, 2000.  Finally, as of January 1, 2006, any existing Type 2 unit that is at least 15 years old with a heat input rating greater than 400,000 BTU/hr is required to comply with emission limits of 30 ppm NOx and 400 ppm CO.  These limits apply to both manufacturers making new equipment for sale and for use and for operators of existing equipment that is currently operating.  However, Rule 1146.2 does not require any existing Type 1 unit to be retrofitted with a new low NOx burner until the unit turns 15 years old.  In addition, Type 2 units using less than 9,000 therms per year are exempt from the retrofit requirements.  Delaying the compliance dates for BARCT retrofits resulted in achieving fewer NOx emission reductions than originally projected for the years 2005 through 2014.  To recover a portion of the delayed emission reductions, amendments to Rule 1146.2 are proposed.

# project description

Rule 1146.2 applies to natural gas-fired large water heaters, small boilers and process heaters.  The purpose of PAR 1146.2 is to reduce the NOx emission limits for all new equipment, except small pool heaters with heat input ratings less than or equal to 400,000 BTU/hr and recover some of the NOx emission reductions foregone that resulted from the previous amendments.

Compliance with the lowered NOx emission limits in PAR 1146.2 is expected to be achieved by installing low NOx burners.  For existing equipment, compliance with PAR 1146.2 means that the operator will either replace the existing unit with a new compliant unit or retrofit the existing unit with a certified low NOx burner that has been demonstrated to comply with the NOx emission standard on a retrofit basis.  Retrofitting an existing unit would consist of utilizing a certified retrofit kit that basically removes the existing burner and replaces it with a compliant, low NOx burner.  Similarly, compliance with PAR 1146.2 for a new unit means that the equipment, at the time of manufacture, will be equipped with compliant low NOx burner technology that has been certified to achieve the NOx emission standards.  No add-on control equipment is expected to be used for either new or existing units to comply with the new NOx emission limits.

The following summarizes these and other changes to the proposed amended rule.  A copy of PAR 1146.2 is included in Appendix A.

Definitions of Terms

Definitions applicable to natural gas-fired large water heaters, small boilers and process heaters are proposed for clarification and consistency within PAR 1146.2 include “boiler or steam generator,” “heat input,” “process heater,” “rated heat input capacity,” and “type 1 unit,” “type 2 unit,” “unit,” and “water heater.”  Further, to reflect the technology that is commercially available on the market, the terms “fire tube boiler,” “instantaneous water heater,” ”pool heater,” “tank type water heater,” “therm,” and “thermal fluid heater” are proposed to be added to PAR 1146.2.  Similarly, the terms “commercial water heater” and “mobile home water heater” are proposed to be deleted from PAR 1146.2.

Requirements

PAR 1146.2 contains a proposal to require any Type 1 or Type 2 unit to be certified in compliance with one the following NOx emission limits:  1) less than 14 nanograms of NOx (calculated as NO2) per joule of heat output; or, 2) less than or equal to 20 ppm of NOx (as corrected to three percent dry oxygen).  The proposed compliance dates for this provision are January 1, 2012 for Type 1 units and January 1, 2010 for Type 2 units.  Also, PAR 1146.2 proposes maintenance and recordkeeping procedures for any Type 2 unit.  Lastly, requirements for supporting documentation relating to the rate heat input capacity, including any modifications as applicable, are proposed for all units.  Other minor changes are proposed for clarity and consistency with the terms and acronyms that are used throughout the proposed amended rule.

Identification of Compliant Units

For enforcement personnel to easily recognize if a unit has received a new or modified burner, PAR 1146.2 would require modified units to display the new rated heat input capacity and certification status on a new, permanently affixed rating plate.  PAR 1146.2 also would specify that the gross heat input of modified units should be based on the maximum fuel input, corrected for fuel heat content, temperature and pressure.  Other minor changes are proposed for clarity and consistency throughout PAR 1146.2.

Exemptions

PAR 1146.2 would clarify the existing exemption for units used in mobile homes and located at RECLAIM facilities provided they are subject to the requirements in Rule 1121 – Control of Nitrogen Oxides From Residential Type, Natural Gas-Fired Water Heaters.  In addition, PAR 1146.2 would clarify the compliance demonstration criteria and calculation methods for units with heat input ratings between 400,000 BTU/hr and two million BTU/hr that would qualify for an existing exemption from retrofit requirements because the annual fuel usage is less than 9,000 therms.  Other minor changes are proposed for clarity and consistency with the terms and acronyms that are used throughout the proposed amended rule.

Progress Reports

PAR 1146.2 would add a new subdivision requiring manufacturers of Type 1 units, Type 2 fire tube boilers, and Type 2 thermal fluid heaters to prepare and submit progress reports that indicate the status of compliance via emissions testing of the burner and control technologies with the NOx limit of 20 ppm or the 14 nanograms per joule of heat output.

C H A P T E R   2  -  E N V I R O N M E N T A L   C H E C K L I S T

Introduction

General Information

Environmental Factors Potentially Affected

Determination

Environmental Checklist and Discussion

# INTRODUCTION

The environmental checklist provides a standard evaluation tool to identify a project's potential adverse environmental impacts.  This checklist identifies and evaluates potential adverse environmental impacts that may be created by the proposed project.

# GENERAL INFORMATION

| Project Title: | Proposed Amended Rule 1146.2 – Emissions of Oxides of Nitrogen from Large Water Heaters and Small Boilers and Process Heaters |
| --- | --- |
| Lead Agency Name: | South Coast Air Quality Management District |
| Lead Agency Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| CEQA Contact Person: | Ms. Barbara Radlein (909) 396-2716 |
| Rule 1146.2 Contact Person | Mr. Wayne Barcikowski (909) 396-3077 |
| Project Sponsor's Name: | South Coast Air Quality Management District |
| Project Sponsor's Address: | 21865 Copley Drive Diamond Bar, CA 91765 |
| General Plan Designation: | Not applicable |
| Zoning: | Not applicable |
| Description of Project: | PAR 1146.2 will reduce NOx emission limits for any large water heater, small boiler or process heaters with a heat input rating less than or equal to two million BTU per hour (BTU/hr), except for small pool heaters rated less than or equal to 400,000 BTU/hr. PAR 1146.2 is expected achieve an overall reduction of 1.8 tons per day of NOx emissions by January 1, 2027 which will partially offset the NOx emission reductions foregone resulting from the previous amendments to Rule 1146.2 that were adopted on January 7, 2005. |
| Surrounding Land Uses and Setting: | Not applicable |
| Other Public Agencies Whose Approval is Required: | Not applicable |

# Environmental Factors Potentially Affected

The following environmental impact areas have been assessed to determine their potential to be affected by the proposed project.  As indicated by the checklist on the following pages, environmental topics marked with an "" may be adversely affected by the proposed project.  An explanation relative to the determination of impacts can be found following the checklist for each area.

|  | Aesthetics |  | Agriculture Resources |  | Air Quality |
| --- | --- | --- | --- | --- | --- |
|  | Biological Resources |  | Cultural Resources |  | Energy |
|  | Geology/Soils |  | Hazards & Hazardous Materials |  | Hydrology/ Water Quality |
|  | Land Use/Planning |  | Mineral Resources |  | Noise |
|  | Population/Housing |  | Public Services |  | Recreation |
|  | Solid/Hazardous Waste |  | Transportation/ Traffic |  | Mandatory Findings of Significance |

# DETERMINATION

On the basis of this initial evaluation:

|  | I find the proposed project, in accordance with those findings made pursuant to CEQA Guideline §15252, COULD NOT have a significant effect on the environment, and that an ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
| --- | --- |
|  | I find that although the proposed project could have a significant effect on the environment, there will NOT be significant effects in this case because revisions in the project have been made by or agreed to by the project proponent. An ENVIRONMENTAL ASSESSMENT with no significant impacts will be prepared. |
|  | I find that the proposed project MAY have a significant effect(s) on the environment, and an ENVIRONMENTAL ASSESSMENT will be prepared. |
|  | I find that the proposed project MAY have a "potentially significant impact" on the environment, but at least one effect 1) has been adequately analyzed in an earlier document pursuant to applicable legal standards, and 2) has been addressed by mitigation measures based on the earlier analysis as described on attached sheets. An ENVIRONMENTAL ASSESSMENT is required, but it must analyze only the effects that remain to be addressed. |
|  | I find that although the proposed project could have a significant effect on the environment, because all potentially significant effects (a) have been analyzed adequately in an earlier ENVIRONMENTAL ASSESSMENT pursuant to applicable standards, and (b) have been avoided or mitigated pursuant to that earlier ENVIRONMENTAL ASSESSMENT, including revisions or mitigation measures that are imposed upon the proposed project, nothing further is required. |

Date:   March 22, 2006	 	Signature:			
			Steve Smith, Ph.D.	
			Program Supervisor

ENVIRONMENTAL CHECKLIST AND DISCUSSION

As discussed in Chapter 1, the main focus of PAR 1146.2 is to reduce NOx emissions from any large water heater, small boiler, or process heater with a heat input rating less than or equal to two million BTU/hr, except for small pool heaters rated less than or equal to 400,000 BTU per hour.  Specifically, PAR 1146.2 proposes requirements for the following: 1) Type 2 units (equipment with a heat input rating greater than 400,000 BTU/hr) will be required to meet a NOx emission limit of 20 ppm on or after January 1, 2010; and 2) Type 1 units (equipment with a heat input rating less than or equal to 400,000 BTU/hr, excluding pool heaters) will be required to meet a NOx emission limit of 20 ppm on or after January 1, 2012.  As a result of these proposed amendments, PAR 1146.2 is expected achieve an overall reduction of 1.8 tons per day of NOx emissions by January 1, 2027, with 1.2 tons per day as new net emission reductions and 0.6 ton per day as offsets to the NOx emission reductions foregone, between compliance years 2010 and 2014, resulting from previous amendments to Rule 1146.2.  There are other amendments proposed throughout PAR 1146.2, but they are not expected to have an effect on emissions, and thus, will not be addressed further in this Final EA.

Manufacturers, distributors, retailers, refurbishers, installers and operators of both existing and new units will be expected to comply with the proposed requirements in PAR 1146.2.  Compliance with PAR 1146.2 for an existing unit means that the operator will either replace the existing unit with a new compliant unit or retrofit the equipment with a certified low NOx burner that has been demonstrated to comply with the NOx emission standard on a retrofit basis.  Similarly, compliance with PAR 1146.2 for a new unit means that the equipment, at the time of manufacture, will be equipped with compliant low NOx burner technology that has been certified to achieve the NOx emission standards.  Further, no add-on control equipment is expected to be used for either new or existing units to comply with the new NOx emission limits.  Thus, answers to the following checklist items are based on the assumption that compliant low NOx burner technology, either at the time of manufacture or retrofit, will be used to meet the requirements of PAR 1146.2.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| I. AESTHETICS. Would the project: |  |  |  |
| - Have a substantial adverse effect on a scenic vista? |  |  |  |
| - Substantially damage scenic resources, including, but not limited to, trees, rock outcroppings, and historic buildings within a state scenic highway? |  |  |  |
| - Substantially degrade the existing visual character or quality of the site and its surroundings? |  |  |  |
| - Create a new source of substantial light or glare which would adversely affect day or nighttime views in the area? |  |  |  |

# Significance Criteria

The proposed project impacts on aesthetics will be considered significant if:

- The project will block views from a scenic highway or corridor.

- The project will adversely affect the visual continuity of the surrounding area.

- The impacts on light and glare will be considered significant if the project adds lighting
    which would add glare to residential areas or sensitive receptors.

Discussion

I.a), b), c) & d)  PAR 1146.2 applies to manufacturers, distributors, retailers, refurbishers, installers and operators of new and existing natural gas-fired large water heaters, small boilers, and process heaters.  Compliance with PAR 1146.2 means installing new compliant units or retrofitting existing units with certified low NOx burner technology.  The footprint of a compliant new replacement unit versus the footprint of an existing, retrofitted unit that meets the low NOx standards as proposed in PAR 1146.2 is not expected to be vastly different from each other.  Whether operators replace their existing units with new compliant units or retrofit their existing units with certified low NOx burners, implementation of PAR 1146.2 would not require the construction of new buildings or other structures that would obstruct scenic resources or degrade the existing visual character of a site, including but not limited to, trees, rock outcroppings, or historic buildings.  Further, PAR 1146.2 would not involve the demolition of any existing buildings or facilities, require any subsurface activities, require the acquisition of any new land or the surrendering of existing land, or the modification of any existing land use designations or zoning ordinances.  Thus, the proposed project is not expected to degrade the visual character of any site where a facility is located and that operates an affected unit or its surroundings, affect any scenic vista, damage scenic resources or create any new source of substantial light or glare.

Based upon these considerations, significant adverse aesthetics impacts are not anticipated and will not be further analyzed in this Final EA.  Since no significant aesthetics impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| II. AGRICULTURE RESOURCES. Would the project: |  |  |  |
| a) Convert Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), as shown on the maps prepared pursuant to the Farmland mapping and Monitoring Program of the California Resources Agency, to non- agricultural use? |  |  |  |
| b) Conflict with existing zoning for agricultural use, or a Williamson Act contract? |  |  |  |
|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| c) Involve other changes in the existing environment which, due to their location or nature, could result in conversion of Farmland, to non-agricultural use? |  |  |  |

Significance Criteria

Project-related impacts on agricultural resources will be considered significant if any of the following conditions are met:

- The proposed project conflicts with existing zoning or agricultural use or Williamson Act contracts.

- The proposed project will convert prime farmland, unique farmland or farmland of statewide importance as shown on the maps prepared pursuant to the farmland mapping and monitoring program of the California Resources Agency, to non-agricultural use.

- The proposed project would involve changes in the existing environment, which due to their location or nature, could result in conversion of farmland to non-agricultural uses.

II.a), b), & c) PAR 1146.2 applies to manufacturers, distributors, retailers, refurbishers, installers and operators of new and existing natural gas-fired large water heaters, small boilers, and process heaters.  The proposed amendments to Rule 1146.2 will reduce NOx emissions limits for these types of equipment.  Compliance with PAR 1146.2 means either installing new compliant units or retrofitting existing units with certified low NOx burner technology.  The businesses that will be affected by the implementation of PAR 1146.2 rule are located within urbanized areas that are typically designated as industrial or commercial.  Therefore, installing new equipment units or retrofitting existing units to comply with PAR 1146.2 would not result in any new construction of buildings or other structures that would convert any classification of farmland to non-agricultural use or conflict with zoning for agricultural use or a Williamson Act contract.

Based upon these considerations, significant agricultural resource impacts are not anticipated and will not be further analyzed in this Final EA.  Since no significant agriculture resources impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | #### No Impact |
| --- | --- | --- | --- |
| III. AIR QUALITY. Would the project: |  |  |  |
| a) Conflict with or obstruct implementation of the applicable air quality plan? |  |  |  |
| b) Violate any air quality standard or contribute to an existing or projected air quality violation? |  |  |  |
|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| c) Result in a cumulatively considerable net increase of any criteria pollutant for which the project region is non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions that exceed quantitative thresholds for ozone precursors)? |  |  |  |
| d) Expose sensitive receptors to substantial pollutant concentrations? |  |  |  |
| e) Create objectionable odors affecting a substantial number of people? |  |  |  |
| f) Diminish an existing air quality rule or future compliance requirement resulting in a significant increase in air pollutant(s)? |  |  |  |

III.a)  Attainment of the state and federal ambient air quality standards protects sensitive receptors and the public in general from the adverse effects of criteria pollutants which are known to have adverse human health effects.  Based on the discussion under items III. b), c) and f), the lower future NOx emission limits proposed in PAR 1146.2, to a small extent, contribute to carrying out the goals of the 2003 AQMP, specifically, the goals of control measure CMB-10, to reduce NOx emissions from all affected source categories, which in turn, contribute to attaining the state and federal ambient air quality standards.  Thus, because PAR 1146.2 implements a portion of this control measure in the 2003 AQMP that will achieve NOx reductions, it will ultimately contribute to attaining and maintaining these standards.

III.b), c) & f)  For a discussion of these items, refer to the following analysis.

Air Quality Significance Criteria

To determine whether or not air quality impacts from adopting and implementing the proposed amendments are significant, impacts will be evaluated and compared to the following criteria.  If impacts exceed any of the following criteria, they will be considered significant.  All feasible mitigation measures will be identified and implemented to reduce significant impacts to the maximum extent feasible.  The project will be considered to have significant adverse air quality impacts if any one of the thresholds in Table 2-1 are equaled or exceeded.

Construction Air Quality Impacts

Compliance with PAR 1146.2 means that operators of existing natural gas-fired large water heaters, small boilers, and process heaters that have heat input ratings less than two million BTU/hr will either replace their existing equipment and install new compliant equipment with compliant low NOx burners already installed, or retrofit their existing equipment by replacing the old burners with new, compliant low NOx burners.  Further, compliance with PAR 1146.2 for manufacturers means that new units will be built with low NOx burners that meet the future NOx emission limits.

Table 2-1
Air Quality Significance Thresholds

| ###### Mass Daily Thresholds |  |  |
| --- | --- | --- |
| Pollutant | Construction | Operation |
| NOx | 100 lbs/day | 55 lbs/day |
| VOC | 75 lbs/day | 55 lbs/day |
| PM10 | 150 lbs/day | 150 lbs/day |
| SOx | 150 lbs/day | 150 lbs/day |
| CO | 550 lbs/day | 550 lbs/day |
| Lead | 3 lbs/day | 3 lbs/day |
| Toxic Air Contaminants (TACs) and Odor Thresholds |  |  |
| TACs (including carcinogens and non-carcinogens) | Maximum Incremental Cancer Risk ≥ 10 in 1 million Hazard Index ≥ 1.0 (project increment) Hazard Index ≥ 3.0 (facility-wide) |  |
| Odor | Project creates an odor nuisance pursuant to SCAQMD Rule 402 |  |
| Ambient Air Quality for Criteria Pollutants a |  |  |
| NO2 1-hour average annual average | SCAQMD is in attainment; project is significant if it causes or contributes to an exceedance of the following attainment standards: 0.25 ppm (state) 0.053 ppm (federal) |  |
| PM10 24-hour average annual geometric average annual arithmetic mean | 10.4 g/m3 (recommended for construction) b & 2.5 g/m3 (operation) 1.0 g/m3 20 g/m3 |  |
| Sulfate 24-hour average | 1 ug/m3 |  |
| CO 1-hour average 8-hour average | SCAQMD is in attainment; project is significant if it causes or contributes to an exceedance of the following attainment standards: 20 ppm (state) 9.0 ppm (state/federal) |  |

a Ambient air quality thresholds for criteria pollutants based on SCAQMD Rule 1303, Table A-2 unless otherwise stated.

b Ambient air quality threshold based on SCAQMD Rule 403.

| KEY: | lbs/day = pounds per day | ppm = parts per million | ug/m3 = microgram per cubic meter | ≥ greater than or equal to |
| --- | --- | --- | --- | --- |

Any operator that chooses to install new equipment or retrofit an existing unit to comply with PAR 1146.2 is not expected to construct any new buildings or other structures as part of the equipment replacement or retrofit process.  However, some physical modifications would be necessary depending on whether the operator chooses to replace the existing equipment with a new unit or to retrofit the existing unit with certified low NOx burner.  For example, for completely replacing existing equipment with new compliant equipment, the existing equipment would need to be shut down and allowed to cool, disconnected from fuel and electric utilities, dismantled and removed.  For the purpose of this analysis, the new equipment is assumed to be installed at or near the location of the existing equipment.  The physical modifications that are typically involved with retrofitting existing equipment would be removing the old burners, installing new burners, and installing new or reworking existing flue gas ductwork.

Specifically, operators of affected facilities who choose to replace existing burners with low NOx burners will first need to pre-order and purchase the appropriate size, style and number of burners, shut down the combustion unit to let it cool, and change out the burners.  The burner change out may involve a contractor or vendor to remove the bolts, possibly cut and re-weld metal seals and re-fire the burners for equipment start-up.  Additional work may be necessary such as upgrading the operation control system or installing a fuel injection system with electronic controls.  Once the low NOx burners are in place, the combustion equipment can be fired up and can operate with lower NOx emissions.  Due to the relatively straightforward nature and ease of installing new compliant equipment or retrofitting existing equipment with low NOx burners and altering burner and flue gas configurations, no heavy duty construction activities or equipment are anticipated.  Thus, no, or minimal secondary construction impacts are anticipated from implementing PAR 1146.2.

Summary of Operational Air Quality Impacts

The overall objective of the proposed project is to lower NOx emissions from natural gas-fired large water heaters, small boilers, and process heaters that have heat input ratings less than two million BTU/hr beginning January 1, 2010.  PAR 1146.2 requires that all affected units will either be replaced with new compliant equipment, or retrofitted with compliant low NOx burners and by January 1, 2027, PAR 1146.2 is expected to permanently reduce NOx emissions from these affected source categories by approximately 1.8 tons per day.  Of these overall NOx emission reductions, 1.2 tons per day will be new net emission reductions and 0.6 ton per day are expected to offset the NOx emission reductions foregone, between compliance years 2010 and 2014, resulting from the previous amendments to Rule 1146.2.  These future NOx emission reductions are based on the compliance data for Type 1 units over a 15-year equipment life.  No other operational emissions are expected from implementing PAR 1146.2.

# Analysis of the Proposed Amended Rule on Emissions

PAR 1146.2 contains several changes; some will impact emissions while most of the others will not.  The most substantial of the proposed changes to PAR 1146.2 that affect NOx emissions from affected equipment are to the reduction of NOx emission limits for both Type 1 and Type 2 units.  The proposed amendments would reduce the NOx emission limits for Type 1 and Type 2 units to 14 ng/J or 20 ppm effective January 1, 2012 and January 1, 2010, respectively.  PAR 1146.2 contains other changes relative to maintenance, recordkeeping, identification, exemptions and progress reports.  To determine the overall emission impact of the PAR 1146.2, staff has first examined the effects of the proposed rule amendments per topic category.

No Emission Changes

No changes in the amount of NOx emissions will result from the following proposed minor rule modifications:

- Modifying the title of the rule to include process heaters.

- Adding new terms plus modifying or deleting the names and definitions of existing terms for consistency and clarity with other changes proposed throughout PAR 1146.2.

- Adding new maintenance and recordkeeping procedures for any Type 2 unit.

- Requiring supporting documentation relating to the rated heat input capacity, including any modifications as applicable, and calculation methods for all units.

- Requiring modified units to display the new rated heat input capacity and certification status on a new, permanently affixed rating plate for ease of identification.

- Basing the gross heat input of modified units on the maximum fuel input, corrected for fuel heat content, temperature and pressure.

- Clarifying the existing exemption for units used in mobile homes and located at RECLAIM facilities to be subject to the requirements in Rule 1121 – Control of Nitrogen Oxides From Residential Type, Natural Gas-Fired Water Heaters.

- Clarifying the compliance demonstration criteria and calculation methods for units with heat input ratings between 400,000 BTU/hr and two million BTU/hr that would qualify for an existing exemption from retrofit requirements because the annual fuel usage is less than 9,000 therms.

- Requiring manufacturers of Type 1 units, Type 2 fire tube boilers, and Type 2 thermal fluid heaters to prepare and submit progress reports that indicate the status of compliance via emissions testing of the burner and control technologies with the NOx limit of 20 ppm or the 14 nanograms per joule of heat output.

- Making other minor changes for clarity and consistency throughout PAR 1146.2.

Changes to NOx Emissions

NOx emission reductions are expected to result from two key proposed changes to Rule 1146.2 that relate to the proposed reductions of the NOx emission limits for Type 1 and Type 2 units to either.  1) less than 14 nanograms of NOx (calculated as NO2) per joule of heat output; or, 2) less than or equal to 20 ppm of NOx (as corrected to three percent dry oxygen).  The proposed compliance dates for this provision are January 1, 2012 for Type 1 units and January 1, 2010 for Type 2 units.  Table 2-2 contains a summary of the current version of Rule 1146.2 and the changes proposed in PAR 1146.2.

As summarized in Table 2-3, the current emission inventory for equipment subject to Rule 1146.2 within the jurisdiction of SCAQMD is approximately 3.4 tons per day of NOx emissions.  The January 2005 amendments to Rule 1146.2 applied the same baseline emission inventory but with an extended future compliance date of 2015.  Table 2-3 reflects both the original baseline emission inventory from 1997 and the delay of the compliance dates.

To calculate the proposed reductions to the NOx emission limits for both Type 1 and Type 2 equipment in PAR 1146.2, Table 2-4 creates a future NOx emission inventory using the same parameters as the baseline emission inventory (Table 2-3) but adjusting the NOx emission limit to the proposed 20 ppm NOx emission limit and extending the compliance year from 2015 to 2027.  The future NOx emission inventory for equipment subject to Rule 1146.2 is approximately 1.6 tons per day of NOx emissions.

By January 1, 2027, implementation of PAR 1146.2 is expected to result in permanent NOx emissions reduction of approximately 1.8 ton per day or 3,600 pounds per day as a result of modifying the NOx emission limits for Type 1 and Type 2 equipment.  Table 2-5 summarizes the projected emission reductions as a result of implementing PAR 1146.2.

Table 2-2
Current and Proposed Requirements for Combustion Units* Subject to Rule 1146.2

| Combustion Unit* |  | Current Rule 1146.2 (Effective today) |  | Proposed Amended Rule 1146.2 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Unit Name | Heat Input Rating (BTU/hr) | NOx Emission Limit | CO Emission Limit | NOx Emission Limit | CO Emission Limit | Compliance Date |
| Type 1 | < 400,000 | New Units: 1. 55 ppm (at 3% dry O2); 2. 40 ng/J (equivalent to 93 lbs/ billion BTU heat output) Existing Units: None | New Units: None Existing Units: None | All Units: 1. 20 ppm (at 3% dry O2); or 2. 14 ng/J | All Units: None | January 1, 2012 |
| Type 2 | > 400,000 | New & Existing Units: 1. 30 ppm (at 3% dry O2); or, 2. 0.037 lbs/ million BTU heat input | New & Existing Units: 400 ppm (at 3% dry O2) | All Units: 1. 20 ppm (at 3% dry O2); or 2. 14 ng/J | All Units: None | January 1, 2010 |

* For the purpose of this table, the term combustion unit includes steam and hot water boilers, process heaters, 
    instantaneous water heaters, tank type water heaters, and pool heaters with heat input ratings greater than 400,000
    BTU/hr.

Table 2-3
Baseline Emission Inventory for Equipment Subject to Rule 1146.21

| Equipment Category | Heat Input Rating Range (BTU/hr) | Average Heat Input Rating (BTU/hr) | No. of Units Within Heat Input Rating Range | Capacity Factor2 | Original NOx Emission Factor (lb/MM BTU) | Original NOx Emission Inventory by 2015 (tons/day) |
| --- | --- | --- | --- | --- | --- | --- |
| Type 1 (at 55 ppm NOx limit) | From 75,000 to < 300,000 | 174,000 | 35,200 | 0.215 | 0.0743 | 1.174 |
|  | From 300,001 to < 400,000 | 350,000 | 8,400 | 0.215 | 0.0743 | 0.564 |
| Type 2 (at 30 ppm NOx limit) | From 400,001 to 2,000,000 | 903,000 | 22,000 | 0.215 | 0.0328 | 1.680 |
|  |  |  |  |  | Total | 3.42 |

1 This table reflects the baseline inventory and associated calculations that were previously prepared for the
    adoption of Rule 1146.2 in January 1998 and later amendments adopted in January 2005.

2 The capacity factor represents an the average percentage of equipment operating time compiled from responses to 
   an SCAQMD survey conducted in 1997 for the Rule 1146.2 Staff Report.

Table 2-4
Future NOx Emission Inventory for Equipment Subject to PAR 1146.2

| Equipment Category | Heat Input Rating Range (BTU/hr) | Average Heat Input Rating (BTU/hr) | No. of Units Within Heat Input Rating Range | Capacity Factor* | Proposed NOx Emission Factor (lb/MM BTU) | Proposed Revised NOx Emission Inventory by 2027 (tons/day) |
| --- | --- | --- | --- | --- | --- | --- |
| Type 1 (at proposed 20 ppm NOx limit) | From 75,000 to < 300,000 | 174,000 | 35,200 | 0.215 | 0.0219 | 0.346 |
|  | From 300,001 to < 400,000 | 350,000 | 8,400 | 0.215 | 0.0219 | 0.166 |
| Type 2 (at proposed 20 ppm NOx limit) | From 400,001 to 2,000,000 | 903,000 | 22,000 | 0.215 | 0.0219 | 1.122 |
|  |  |  |  |  | Total | 1.634 |

*  On June 30, 2004, Robert Morris and Associates prepared a report titled “Evaluation Measurement and 
      Verification Report for the Local Small Commercial Energy Efficiency & Market Transformation Program 
      #208-02 for the Southern California Gas Company.  This report contains actual field measurements of boiler full 
      load hours and the average capacity factor for this equipment category was estimated at 0.214.  However, for 
      consistency with the original baseline calculations in the 1997 Staff Report prepared for Rule 1146.2, a capacity 
      factor of 0.215 will continue to be applied.

Table 2-5
Projected Emission Reductions Attributable to PAR 1146.2

| Equipment Category | Heat Input Rating Range (BTU/hr) | Original NOx Emission Inventory by 2015 (tons/day) | Proposed Revised NOx Emission Inventory by 2027 (tons/day) | Projected NOx Emission Reductions by 2027 (tons/day) |
| --- | --- | --- | --- | --- |
| Type 1 (at proposed 20 ppm NOx limit) | From 75,000 to < 300,000 | 1.174 | 0.346 | 0.828 |
|  | From 300,001 to < 400,000 | 0.564 | 0.166 | 0.398 |
| Type 2 (at proposed 20 ppm NOx limit) | From 400,001 to 2,000,000 | 1.680 | 1.122 | 0.558 |
|  | Total | 3.4 | 1.6 | 1.8 |

Conclusion

Based on the preceding discussion, PAR 1146.2 is expected to reduce NOx emissions by approximately 1.8 tons per day, which is an air quality benefit.  Of these overall NOx emission reductions, 1.2 tons per day will be new net emission reductions and 0.6 ton per day are expected to offset the NOx emission reductions foregone, between compliance years 2010 and 2014, resulting from the previous amendments to Rule 1146.2.  Thus, PAR 1146.2 is not expected to result in significant adverse air quality impacts.  Further, implementing PAR 1146.2 would not diminish an existing air quality rule or future compliance requirement, nor conflict with or obstruct implementation of the applicable air quality plan.  The proposed project has no provision that would cause a violation of any air quality standard or directly contribute to an existing or projected air quality violation.  Since air quality impacts from implementing PAR 1146.2 are seen as benefits and do not exceed any of the air quality significance thresholds in Table 2-1, air quality impacts are not considered to be cumulatively considerable as defined in CEQA Guidelines §15065(c).  Therefore, the proposed project is not expected to result in a cumulatively considerable net increase of any criteria pollutant.

III.d)  Affected facilities are not expected to increase exposure by sensitive receptors to substantial pollutant concentrations from the implementation of PAR 1146.2 for the following reasons:  1) the affected facilities are existing facilities located in industrial or commercial areas; 2) there are no construction or operational emission increases associated with the proposed changes; and, 3) installation of any new or retrofits of any existing equipment subject to PAR 1146.2 is expected to reduce NOx emissions from affected equipment.  Therefore, significant adverse air quality impacts to sensitive receptors are not expected from implementing PAR 1146.2.

III.e) Historically, the SCAQMD has enforced odor nuisance complaints through SCAQMD Rule 402 - Nuisance.  Affected facilities are not expected to create objectionable odors affecting a substantial number of people for the following reasons:  1) the affected facilities are existing facilities located in industrial or commercial areas with appropriate controls in place; 2) typically no odors are associated with combustion equipment operating in accordance with Rule 1146.2; and, 3) installation of any new or retrofits of any existing equipment subject to PAR 1146.2 is expected to reduce NOx emissions from affected equipment.  Therefore, no significant odor impacts are expected to result from implementing the PAR 1146.2.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IV. BIOLOGICAL RESOURCES. Would the project: |  |  |  |
| a) Have a substantial adverse effect, either directly or through habitat modifications, on any species identified as a candidate, sensitive, or special status species in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| b) Have a substantial adverse effect on any riparian habitat or other sensitive natural community identified in local or regional plans, policies, or regulations, or by the California Department of Fish and Game or U.S. Fish and Wildlife Service? |  |  |  |
| c) Have a substantial adverse effect on federally protected wetlands as defined by §404 of the Clean Water Act (including, but not limited to, marsh, vernal pool, coastal, etc.) through direct removal, filling, hydrological interruption, or other means? |  |  |  |
| d) Interfere substantially with the movement of any native resident or migratory fish or wildlife species or with established native resident or migratory wildlife corridors, or impede the use of native wildlife nursery sites? |  |  |  |
| e) Conflicting with any local policies or ordinances protecting biological resources, such as a tree preservation policy or ordinance? |  |  |  |
| f) Conflict with the provisions of an adopted Habitat Conservation plan, Natural Community Conservation Plan, or other approved local, regional, or state habitat conservation plan? |  |  |  |

Significance Criteria

Impacts on biological resources will be considered significant if any of the following criteria apply:

- The project results in a loss of plant communities or animal habitat considered to be rare, threatened or endangered by federal, state or local agencies.

- The project interferes substantially with the movement of any resident or migratory wildlife species.

- The project adversely affects aquatic communities through construction or operation of the project.

# Discussion

IV.a), b), c), & d)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities in industrial or commercial areas, which have already been greatly disturbed.  Compliance with PAR 1146.2 means either installing new compliant units or retrofitting existing units with certified low NOx burner technology.  Therefore, installing new equipment units or retrofitting existing units to comply with PAR 1146.2 would not result in any new construction of buildings or other structures.  In general, these areas currently do not typically support riparian habitat, federally protected wetlands, or migratory corridors.  Additionally, special status plants, animals, or natural communities are not expected to be found in close proximity to the affected facilities.

IV.e) & f)  PAR 1146.2 is not envisioned to conflict with local policies or ordinances protecting biological resources nor local, regional, or state conservation plans because it will only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities in industrial or commercial areas.  Additionally, PAR 1146.2 will not conflict with any adopted Habitat Conservation Plan, Natural Community Conservation Plan, or any other relevant habitat conservation plan for the same reason.

The SCAQMD, as the Lead Agency for the proposed project, has found that, when considering the record as a whole, there is no evidence that the proposed project will have potential for any new adverse effects on wildlife resources or the habitat upon which wildlife depends.  Accordingly, based upon the preceding information, the SCAQMD has, on the basis of substantial evidence, rebutted the presumption of adverse effect contained in §753.5 (d), Title 14 of the California Code of Regulations.

Based upon these considerations, significant adverse biological resources impacts are not anticipated and will not be further analyzed in this Final EA.  Since no significant adverse biological resources impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| V. CULTURAL RESOURCES. Would the project: |  |  |  |
| - Cause a substantial adverse change in the significance of a historical resource as defined in §15064.5? |  |  |  |
| - Cause a substantial adverse change in the significance of an archaeological resource as defined in §15064.5? |  |  |  |
| - Directly or indirectly destroy a unique paleontological resource or site or unique geologic feature? |  |  |  |
| - Disturb any human remains, including those interred outside a formal cemeteries? |  |  |  |

Significance Criteria

Impacts to cultural resources will be considered significant if:

- The project results in the disturbance of a significant prehistoric or historic archaeological site or a property of historic or cultural significance to a community or ethnic or social group.

- Unique paleontological resources are present that could be disturbed by construction of the proposed project.

- The project would disturb human remains.

# Discussion

V.a), b), c), & d)  Since construction-related activities associated with the implementation of PAR 1146.2 are not expected, no impacts to historical resources will occur as a result of this project.  PAR 1146.2 is not expected to require physical changes to the environment, which may disturb paleontological or archaeological resources.  Furthermore, it is envisioned that the areas where the affected facilities exist are already either devoid of significant cultural resources or whose cultural resources have been previously disturbed.

Based upon these considerations, significant adverse cultural resources impacts are not expected from the implementing PAR 1146.2 and will not be further assessed in this Final EA.  Since no significant cultural resources impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VI. ENERGY. Would the project: |  |  |  |
| a) Conflict with adopted energy conservation plans? |  |  |  |
| b) Result in the need for new or substantially altered power or natural gas utility systems? |  |  |  |
| c) Create any significant effects on local or regional energy supplies and on requirements for additional energy? |  |  |  |
| d) Create any significant effects on peak and base period demands for electricity and other forms of energy? |  |  |  |
| e) Comply with existing energy standards? |  |  |  |

Significance Criteria

Impacts to energy and mineral resources will be considered significant if any of the following criteria are met:

- The project conflicts with adopted energy conservation plans or standards.

- The project results in substantial depletion of existing energy resource supplies.

- An increase in demand for utilities impacts the current capacities of the electric and natural gas utilities.

- The project uses non-renewable resources in a wasteful and/or inefficient manner.

Discussion

VI.a) & e)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities in industrial or commercial areas.  Compliance with PAR 1146.2 means either installing new compliant units or facility operators retrofitting existing units with certified low NOx burner technology.  As a result, PAR 1146.2 would not conflict with energy conservation plans, use non-renewable resources in a wasteful manner, or result in the need for new or substantially altered power or natural gas systems.  Since PAR 1146.2 would affect both new and existing equipment operating at existing facilities, it will not conflict with adopted energy conservation plans because existing facilities would be expected to continue implementing any existing energy conservation plans.  Additionally, affected facilities are expected to comply with existing energy conservation plans and standards to minimize operating costs but still comply with the requirements of PAR 1146.2.  Accordingly these impact issues will not be further analyzed in the Final EA.

VI.b), c), & d) PAR 1146.2 would not create any significant effects on peak and base period demands for electricity and other forms of energy since no construction of buildings or other structures are anticipated as a result of the affected facilities operating equipment that is either manufactured or retrofitted with certified low NOx burner technology.

Current Rule 1146.2 applies to operations of both new and existing large water heaters, small boilers, and process heaters that are fired with natural gas.  Implementation of PAR 1146.2 is not expected to increase the demand for natural gas beyond what is currently used at existing facilities.  Therefore, the SCAQMD does not anticipate that additional fuel beyond what is currently necessary to supply demand will be required to provide natural gas to affected facilities.  Based upon these considerations, the proposed project is not expected to use energy in a wasteful manner, and will not exceed SCAQMD energy significance thresholds.  There will be no substantial depletion of energy resources nor will significant amounts of fuel be needed when compared to existing supplies.

In light of the preceding discussion, PAR 1146.2 would not create any significant effects on peak and base period demands for electricity and other forms of energy and it is expected to comply with existing energy standards.  Therefore, PAR 1146.2 is not expected to generate significant adverse energy resources impacts and will not be discussed further in this Final EA.  Since no significant energy impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VII. GEOLOGY AND SOILS. Would the project: |  |  |  |
| a) Expose people or structures to potential substantial adverse effects, including the risk of loss, injury, or death involving: |  |  |  |
| - Rupture of a known earthquake fault, as delineated on the most recent Alquist-Priolo Earthquake Fault Zoning Map issued by the State Geologist for the area or based on other substantial evidence of a known fault? |  |  |  |
| - Strong seismic ground shaking? |  |  |  |
| - Seismic–related ground failure, including liquefaction? |  |  |  |
| - Landslides? |  |  |  |
| b) Result in substantial soil erosion or the loss of topsoil? |  |  |  |
| c) Be located on a geologic unit or soil that is unstable or that would become unstable as a result of the project, and potentially result in on- or offsite landslide, lateral spreading, subsidence, liquefaction or collapse? |  |  |  |
| d) Be located on expansive soil, as defined in Table 18-1-B of the Uniform Building Code (1994), creating substantial risks to life or property? |  |  |  |
| e) Have soils incapable of adequately supporting the use of septic tanks or alternative waste water disposal systems where sewers are not available for the disposal of waste water? |  |  |  |

Significance Criteria

Impacts on the geological environment will be considered significant if any of the following criteria apply:

- Topographic alterations would result in significant changes, disruptions, displacement, excavation, compaction or over covering of large amounts of soil.

- Unique geological resources (paleontological resources or unique outcrops) are present that could be disturbed by the construction of the proposed project.

- Exposure of people or structures to major geologic hazards such as earthquake surface rupture, ground shaking, liquefaction or landslides.

- Secondary seismic effects could occur which could damage facility structures, e.g., liquefaction.

- Other geological hazards exist which could adversely affect the facility, e.g., landslides, mudslides.

Discussion

VII.a)  Southern California is an area of known seismic activity.  Structures must be designed to comply with the Uniform Building Code Zone 4 requirements if they are located in a seismically active area.  The local city or county is responsible for assuring that a proposed project complies with the Uniform Building Code as part of the issuance of the building permits and can conduct inspections to ensure compliance.  The Uniform Building Code is considered to be a standard safeguard against major structural failures and loss of life.  The goal of the code is to provide structures that will:  (1) resist minor earthquakes without damage; (2) resist moderate earthquakes without structural damage but with some non-structural damage; and (3) resist major earthquakes without collapse but with some structural and non-structural damage.

The Uniform Building Code bases seismic design on minimum lateral seismic forces (“ground shaking”).  The Uniform Building Code requirements operate on the principle that providing appropriate foundations, among other aspects, helps to protect buildings from failure during earthquakes.  The basic formulas used for the Uniform Building Code seismic design require determination of the seismic zone and site coefficient, which represent the foundation conditions at the site.  Accordingly, buildings and equipment at existing affected facilities are likely to conform with the Uniform Building Code and all other applicable state codes in effect at the time they were constructed.

PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities in industrial or commercial areas.  Since implementing PAR 1146.2 is expected to involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners at existing facilities, no new buildings or structures are expected to be constructed in response to the proposed project.  As a result, substantial exposure of people or structure to the risk of loss, injury, or death involving seismic-related activities is not anticipated and will not be further analyzed in this Final EA.

VII.b)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities in industrial or commercial areas.  Since implementing PAR 1146.2 is expected to involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners at existing facilities, no soil disruption from excavation, grading, or filling activities; changes in topography or surface relief features; erosion of beach sand; or changes in existing siltation rates are anticipated in response to the proposed project.

VII.c)  Since PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters located at existing facilities, it is expected that the soil types present at the affected facilities will not be further susceptible to expansion or liquefaction.  Furthermore, subsidence is not anticipated to be a problem since no excavation, grading, or filling activities will occur at affected facilities.  Further, the proposed project does not involve drilling or removal of underground products (e.g., water, crude oil, et cetera) that could produce subsidence effects.  Additionally, the affected areas are not envisioned to be prone to landslides or have unique geologic features since the affected facilities are located in industrial or commercial areas where such features have already been altered or removed.

VII.d) & e)  Since the proposed project will affect operations at existing facilities, it is expected that people or property will not be exposed to expansive soils or soils incapable of supporting water disposal.  Further, the proposed project does not require installation of septic tanks or other alternative waste water systems.  The main effect of the proposed project will be the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners at the affected facilities.

Based upon these considerations, significant geology and soils impacts are not expected from the implementation of PAR 1146.2 and will not be further analyzed in this Final EA.  Since no significant geology and soils impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| VIII. HAZARDS AND HAZARDOUS MATERIALS. Would the project: |  |  |  |
| - Create a significant hazard to the public or the environment through the routine transport, use, disposal of hazardous materials? |  |  |  |
| - Create a significant hazard to the public or the environment through reasonably foreseeable upset and accident conditions involving the release of hazardous materials into the environment? |  |  |  |
| - Emit hazardous emissions, or handle hazardous or acutely hazardous materials, substances, or waste within one-quarter mile of an existing or proposed school? |  |  |  |
| - Be located on a site which is included on a list of hazardous materials sites compiled pursuant to Government Code §65962.5 and, as a result, would create a significant hazard to the public or the environment? |  |  |  |
| - For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| - For a project within the vicinity of a private airstrip, would the project result in a safety hazard for people residing or working in the project area? |  |  |  |
| - Impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan? |  |  |  |
| - Expose people or structures to a significant risk of loss, injury or death involving wildland fires, including where wildlands are adjacent to urbanized areas or where residences are intermixed with wildlands? |  |  |  |
| - Significantly increased fire hazard in areas with flammable materials? |  |  |  |

Significance Criteria

Impacts associated with hazards will be considered significant if any of the following occur:

- Non-compliance with any applicable design code or regulation.

- Non-conformance to National Fire Protection Association standards.

- Non-conformance to regulations or generally accepted industry practices related to operating policy and procedures concerning the design, construction, security, leak detection, spill containment or fire protection.

- Exposure to hazardous chemicals in concentrations equal to or greater than the Emergency Response Planning Guideline (ERPG) 2 levels.

Discussion

VIII.a) There are no provisions in PAR 1146.2 that would increase the amount of hazardous materials needed by facility operators.  Further, because implementation of PAR 1146.2 would involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners at existing facilities, no raw material deliveries or waste disposal truck trips that handle hazardous materials will be associated with the proposed project.

As indicated in the discussion under energy, current Rule 1146.2 applies to operations of both new and existing large water heaters, small boilers, and process heaters that are fired with natural gas, a flammable substance.  However, because implementation of PAR 1146.2 is not expected to increase the demand for natural gas beyond what is currently used at existing affected facilities, no additional fuel beyond what is currently necessary to supply demand will be required to provide natural gas to affected facilities.  Therefore, implementation of PAR 1146.2 is not expected to change or increase the existing flammability hazard that is associated with operating natural gas-fired devices.  In summary, implementation of PAR 1146.2 is not expected to increase any existing flammability hazard associated with firing low NOx burners with natural gas.

VIII.b) & i) Since PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters, existing emergency planning is anticipated to adequately minimize the risk associated installing new compliant equipment or retrofitting existing equipment with certified low NOx burners.  Businesses are required to report increases in the storage or use of flammable and otherwise hazardous materials to local fire departments.  As noted in item VIII.a), PAR 1146.2 does not propose to increase the amount of materials needed that would contain hazardous materials nor does it propose to increase the demand of natural gas, a flammable substance.

In addition, local fire departments ensure that adequate permit conditions are in place to protect against potential risk of upset.  The Uniform Fire Code and Uniform Building Code set standards intended to minimize risks from flammable or otherwise hazardous materials.  Local jurisdictions are required to adopt the uniform codes or comparable regulations.  Local fire agencies require permits for the use or storage of hazardous materials and permit modifications for proposed increases in their use.  Permit conditions depend on the type and quantity of the hazardous materials at the facility.  Permit conditions may include, but are not limited to, specifications for sprinkler systems, electrical systems, ventilation, and containment.  The fire departments make annual business inspections to ensure compliance with permit conditions and other appropriate regulations.

Further, all hazardous materials are expected to be used in compliance with established OSHA or Cal/OSHA regulations and procedures, including providing adequate ventilation, using recommended personal protective equipment and clothing, posting appropriate signs and warnings, and providing adequate worker health and safety training.  When taken together, the above regulations provide comprehensive measures to reduce hazards of explosive or otherwise hazardous materials.  Compliance with these and other federal, state and local regulations and proper operation and maintenance of equipment should ensure the potential for explosions or accidental releases of hazardous materials is not significant.

VIII.c), e), & f)  In general, the purpose of PAR 1146.2 is to achieve NOx emission reductions from natural gas-fired large water heaters, small boilers, and process heaters at existing facilities, which will ultimately improve air quality and reduce adverse human health impact related to poor air quality.  Since operations of these equipment categories occur at existing facilities located in industrial or commercial areas, implementation of PAR 1146.2 is not expected to increase or create any new hazardous emissions which would adversely affect existing/proposed schools or public/private airports located in close proximity to the affected facilities.  Accordingly, these impact issues are not further evaluated in this Final EA.

VIII.d)  Even if some affected facilities are designated pursuant to Government Code §65962.5 as a large quantity generator of hazardous waste, it is not anticipated that complying with PAR 1146.2 will alter in any way how affected facilities manage their hazardous wastes and that they will continue to be managed in accordance with all applicable federal, state, and local rules and regulations.

VIII.g) Aside from the use of natural gas for fueling the equipment, it should again be noted that the proposed amended rule has no provisions that dictate the use of any hazardous material.  Under PAR 1146.2, owners or operators of the affected facilities have the flexibility of choosing the type of compliant combustion equipment (i.e. to install new equipment or retrofit existing equipment with low NOx burners) for their operations.  Either way, the installation of new compliant equipment or the retrofit of existing equipment will not pose a substantial safety hazard.  Therefore, it is not anticipated that PAR 1146.2 would impair implementation of or physically interfere with an adopted emergency response plan or emergency evacuation plan.

In addition, Health and Safety Code §25506 specifically requires all businesses handling hazardous materials to submit a business emergency response plan to assist local administering agencies in the emergency release or threatened release of a hazardous material.  Business emergency response plans generally require the following:

- Identification of individuals who are responsible for various actions, including reporting, assisting emergency response personnel and establishing an emergency response team;

- Procedures to notify the administering agency, the appropriate local emergency rescue personnel, and the California Office of Emergency Services;

- Procedures to mitigate a release or threatened release to minimize any potential harm or damage to persons, property or the environment;

- Procedures to notify the necessary persons who can respond to an emergency within the facility;

- Details of evacuation plans and procedures;

- Descriptions of the emergency equipment available in the facility;

- Identification of local emergency medical assistance; and

- Training (initial and refresher) programs for employees in:

- 1.	The safe handling of hazardous materials used by the business;

- 2.	Methods of working with the local public emergency response agencies;

- 3.	The use of emergency response resources under control of the handler;

- 4.	Other procedures and resources that will increase public safety and prevent or mitigate a release of hazardous materials.

In general, every county or city and all facilities using a minimum amount of hazardous materials are required to formulate detailed contingency plans to eliminate, or at least minimize, the possibility and effect of fires, explosion, or spills.  In conjunction with the California Office of Emergency Services, local jurisdictions have enacted ordinances that set standards for area and business emergency response plans.  These requirements include immediate notification, mitigation of an actual or threatened release of a hazardous material, and evacuation of the emergency area.

VIII.h)  Since the facilities that operate equipment subject to the requirements in PAR 1146.2 are located at existing industrial or commercial sites in urban areas where wildlands are not prevalent, risk of loss or injury associated with wildland fires is not expected.  Accordingly, this impact issue is not further evaluated in this Final EA.

Based upon these considerations, significant hazards and hazardous materials impacts are not expected from the implementation of PAR 1146.2 and will not be further analyzed in this Final EA.  Since no significant hazards and hazardous materials impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| IX. HYDROLOGY AND WATER QUALITY. Would the project: |  |  |  |
| - Violate any water quality standards or waste discharge requirements? |  |  |  |
| - Substantially deplete groundwater supplies or interfere substantially with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level (e.g. the production rate of pre-existing nearby wells would drop to a level which would not support existing land uses or planned uses for which permits have been granted)? |  |  |  |
| - Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, in a manner that would result in substantial erosion or siltation on- or offsite? |  |  |  |
| - Substantially alter the existing drainage pattern of the site or area, including through alteration of the course of a stream or river, or substantially increase the rate or amount of surface runoff in a manner that would result in flooding on- or offsite? |  |  |  |
| - Create or contribute runoff water which would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff? |  |  |  |
| - Otherwise substantially degrade water quality? |  |  |  |
| - Place housing within a 100-year flood hazard area as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood hazard delineation map? |  |  |  |

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |

| - Place within a 100-year flood hazard area structures which would impede or redirect flood flaws? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| - Expose people or structures to a significant risk of loss, injury or death involving flooding, including flooding as a result of the failure of a levee or dam? |  |  |  |  |  |  |
| - Inundation by seiche, tsunami, or mudflow? |  |  |  |  |  |  |
| - Exceed wastewater treatment requirements of the applicable Regional Water Quality Control Board? |  |  |  |  |  |  |
| - Require or result in the construction of new water or wastewater treatment facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |  |  |  |
| - Require or result in the construction of new storm water drainage facilities or expansion of existing facilities, the construction of which could cause significant environmental effects? |  |  |  |  |  |  |
| - Have sufficient water supplies available to serve the project from existing entitlements and resources, or are new or expanded entitlements needed? |  |  |  |  |  |  |
| - Require in a determination by the wastewater treatment provider which serves or may serve the project that it has adequate capacity to serve the project's projected demand in addition to the provider's existing commitments? |  |  |  |  |  |  |

Significance Criteria

Potential impacts on water resources will be considered significant if any of the following criteria apply:

Water Quality:

- The project will cause degradation or depletion of ground water resources substantially affecting current or future uses.

- The project will cause the degradation of surface water substantially affecting current or future uses.

- The project will result in a violation of National Pollutant Discharge Elimination System (NPDES) permit requirements.

- The capacities of existing or proposed wastewater treatment facilities and the sanitary sewer system are not sufficient to meet the needs of the project.

- The project results in substantial increases in the area of impervious surfaces, such that interference with groundwater recharge efforts occurs.

- The project results in alterations to the course or flow of floodwaters.

Water Demand:

- The existing water supply does not have the capacity to meet the increased demands of the project, or the project would use a substantial amount of potable water.

- The project increases demand for water by more than five million gallons per day.

# Discussion

The expected options for compliance with the proposed future NOx emission limits will involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners at existing facilities.  No additional water demand or wastewater generation is expected to result from the operation of the units equipped with certified low NOx burners at the affected facilities because this type of control technology does not entail the use of water in the NOx control process.  Further, PAR 1146.2 has no provision that would require the construction of additional water resource facilities, the need for new or expanded water entitlements, or an alteration of drainage patterns.  The proposed project would not substantially deplete groundwater supplies or interfere substantially with groundwater recharge.  PAR 1146.2 would not create or contribute runoff water that would exceed the capacity of existing or planned stormwater drainage systems or provide substantial additional sources of polluted runoff.  Further, since compliance with PAR 1146.2 does not involve wastewater processes, there would be no change in the composition or volume of existing wastewater streams from the affected facilities.  In addition, the proposed amended rule is not expected to require additional wastewater disposal capacity, violate any water quality standard or wastewater discharge requirements, or otherwise substantially degrade water quality.

IX.a), f), k), l), & o)  Complying with the proposed project will not change existing operations at affected facilities, nor would it result in generation of increased volumes of wastewater.  As a result, there are no potential changes in wastewater volume or composition expected from facilities complying with the requirements in PAR 1146.2.  Further, PAR 1146.2 is not expected to cause affected facilities to violate any water quality standard or wastewater discharge requirements since there are no wastewater volumes associated with PAR 1146.2.  PAR 1146.2 is not expected to have significant adverse water demand or water quality impacts for the following reasons:

- The proposed project does not increase demand for water by more than 5,000,000 gallons per day.

- The proposed project does not require construction of new water conveyance infrastructure.

- The proposed project does not create a substantial increase in mass inflow of effluents to public wastewater treatment facilities.

- The proposed project does not result in a substantial degradation of surface water or groundwater quality.

- The proposed project does not result in substantial increases in the area of impervious surfaces, such that interference with groundwater recharge efforts occurs.

- The proposed project does not result in alterations to the course or flow of floodwaters.

IX.b) & n) Because the nature of the burners in the equipment affected by PAR 1146.2 does not rely on water, no increase to the affected facilities existing water demand is expected.  Because low NOx burner technology does not utilize water, implementation of PAR 1146.2 will not affect groundwater supplies or interfere with groundwater recharge such that there would be a net deficit in aquifer volume or a lowering of the local groundwater table level.  In addition, implementation of PAR 1146.2 will not increase demand for water from existing entitlements and resources, and will not require new or expanded entitlements.  Therefore, no water demand impacts are expected as the result of implementing PAR 1146.2.

IX.c), d), & e)  Implementation of PAR 1146.2 will occur at existing facilities, that are typically located in industrial or commercial areas that are paved and that have drainage infrastructures already in place.  Since PAR 1146.2 does not involve construction activities, no changes to storm water runoff, drainage patterns, groundwater characteristics, or flow are expected.  Therefore, these impact areas are not expected to be affected by PAR 1146.2.

IX.g), h), i), & j)  The proposed project will not require construction of new housing or contribute to the construction of new building structures because no modifications or changes to existing structures are expected to occur at the affected facilities as a result of implementing PAR 1146.2.  Further, PAR 1146.2 is not expected to require additional workers at affected facilities.  Therefore, PAR 1146.2 is not expected to generate construction of any new structures in 100-year flood areas as mapped on a federal Flood Hazard Boundary or Flood Insurance Rate Map or other flood delineation map.  As a result, PAR 1146.2 is not expected to expose people or structures to significant new flooding risks.  Finally, PAR 1146.2 will not affect in any way any potential flood hazards inundation by seiche, tsunami, or mud flow that may already exist relative to existing facilities.

IX.m)  PAR 1146.2 will not increase storm water discharge, since no construction activities are expected at affected facilities.  Therefore, no new storm water discharge treatment facilities or modifications to existing facilities will be required due to the implementation of PAR 1146.2.  Accordingly, PAR 1146.2 is not expected to generate significant adverse impacts relative to construction of new storm water drainage facilities.

Based upon these considerations, significant hydrology and water quality impacts are not expected from the implementation of PAR 1146.2 and will not be further analyzed in this Final EA.  Since no significant hydrology and water quality impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| X. LAND USE AND PLANNING. Would the project: |  |  |  |
| a) Physically divide an established community? |  |  |  |
| b) Conflict with any applicable land use plan, policy, or regulation of an agency with jurisdiction over the project (including, but not limited to the general plan, specific plan, local coastal program or zoning ordinance) adopted for the purpose of avoiding or mitigating an environmental effect? |  |  |  |
| c) Conflict with any applicable habitat conservation or natural community conservation plan? |  |  |  |

Significance Criteria

Land use and planning impacts will be considered significant if the project conflicts with the land use and zoning designations established by local jurisdictions.

# Discussion

X.a)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters at existing facilities.  The expected options for compliance with the proposed future NOx emission limits in PAR 1146.2 will involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners.  Since PAR 1146.2 affects existing facilities, it does not include any components that would require physically dividing an established community.

X.b) & c)  There are no provisions in PAR 1146.2 that would affect land use plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by regulating NOx emissions from natural gas-fired large water heaters, small boilers, and process heaters.  Since PAR 1146.2 would establish lower NOx emission limits for these combustion devices, PAR 1146.2 would not affect in any way habitat conservation or natural community conservation plans, agricultural resources or operations, and would not create divisions in any existing communities.  Therefore, present or planned land uses in the region will not be significantly adversely affected as a result of the proposed amended rule.

Based upon these considerations, significant land use and planning impacts are not expected from the implementation of PAR 1146.2 and will not be further analyzed in this Final EA.  Since no significant land use and planning impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XI. MINERAL RESOURCES. Would the project: |  |  |  |
| - Result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state? |  |  |  |
| - Result in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan? |  |  |  |

Significance Criteria

Project-related impacts on mineral resources will be considered significant if any of the following conditions are met:

- The project would result in the loss of availability of a known mineral resource that would be of value to the region and the residents of the state.

- The proposed project results in the loss of availability of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.

# Discussion

XI.a) & b)  There are no provisions in PAR 1146.2 that would result in the loss of availability of a known mineral resource of value to the region and the residents of the state, or of a locally-important mineral resource recovery site delineated on a local general plan, specific plan or other land use plan.

Based upon the above considerations, significant mineral resources impacts are not expected from the implementation of PAR 1146.2 and will not be further analyzed in this Final EA.  Since no significant mineral resources impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XII. NOISE. Would the project result in: |  |  |  |
| - Exposure of persons to or generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies? |  |  |  |
| - Exposure of persons to or generation of excessive groundborne vibration or groundborne noise levels? |  |  |  |
|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |

| c) A substantial permanent increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| --- | --- | --- | --- |
| d) A substantial temporary or periodic increase in ambient noise levels in the project vicinity above levels existing without the project? |  |  |  |
| e) For a project located within an airport land use plan or, where such a plan has not been adopted, within two miles of a public airport or public use airport, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |
| f) For a project within the vicinity of a private airship, would the project expose people residing or working in the project area to excessive noise levels? |  |  |  |

Significance Criteria

Impacts on noise will be considered significant if:

- Construction noise levels exceed the local noise ordinances or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three decibels (dBA) at the site boundary.  Construction noise levels will be considered significant if they exceed federal Occupational Safety and Health Administration (OSHA) noise standards for workers.

- The proposed project operational noise levels exceed any of the local noise ordinances at the site boundary or, if the noise threshold is currently exceeded, project noise sources increase ambient noise levels by more than three dBA at the site boundary.

# Discussion

XII.a)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters at existing facilities.  The expected options for compliance with the proposed future NOx emission limits in PAR 1146.2 will involve the installation of new equipment or the retrofitting of existing units with certified low NOx burners.  No other physical modifications or changes associated with the implementation of PAR 1146.2 are expected.  Thus, the proposed project is not expected to expose persons to the generation of excessive noise levels above current facility levels because the proposed project will essentially be operating the same type of equipment at equivalent or similar noise levels.  It is expected that any facility affected by PAR 1146.2 will comply with all existing noise control laws or ordinances.  Further, Occupational Safety and Health Administration (OSHA) and California-OSHA have established noise standards to protect worker health.  It is expected that all workers at affected facilities will continue complying with applicable noise standards.

XII.b)  PAR 1146.2 is not anticipated to expose people to or generate excessive groundborne vibration or groundborne noise levels since no construction activities are expected to occur at the existing facilities and the affected equipment are not inherently noisy.

XII.c)  A permanent increase in ambient noise levels at the affected facilities above existing levels without the proposed project is unlikely to occur because any new equipment that would be installed as part of implementing PAR 1146.2 will be replacing existing equipment with the same or similar noise profiles and retrofitting existing equipment with certified low NOx burners will not change the noise profile of the existing equipment.  Therefore, the existing noise levels are unlikely to change and raise ambient noise levels in the vicinities of the existing facilities to above a level of significance in response to implementing PAR 1146.2.

XII.d)  No increase in periodic or temporary ambient noise levels in the vicinity of affected facilities above levels existing prior to PAR 1146.2 is anticipated because the proposed project would not require construction-related activities at affected facilities or change the existing operations at the affected facilities.

XII.e) & f)  Implementation of PAR 1146.2 would not consist of improvements within the existing facilities requiring construction activities.  Even if an affected facility is located near a public/private airport, there are no new noise impacts expected from any of the existing facilities as a result of complying with the proposed project.  Thus, PAR 1146.2 is not expected to expose people residing or working in the project vicinities to excessive noise levels.

Based upon these considerations, significant noise impacts are not expected from the implementation of PAR 1146.2 and are not further evaluated in this Final EA.  Since no significant noise impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIII. POPULATION AND HOUSING. Would the project: |  |  |  |
| a) Induce substantial growth in an area either directly (for example, by proposing new homes and businesses) or indirectly (e.g. through extension of roads or other infrastructure)? |  |  |  |
| b) Displace substantial numbers of existing housing, necessitating the construction of replacement housing elsewhere? |  |  |  |
| c) Displace substantial numbers of people, necessitating the construction of replacement housing elsewhere? |  |  |  |

Significance Criteria

Impacts of the proposed project on population and housing will be considered significant if the following criteria are exceeded:

- The demand for temporary or permanent housing exceeds the existing supply.

- The proposed project produces additional population, housing or employment inconsistent with adopted plans either in terms of overall amount or location.

# Discussion

XIII.a)  The proposed project is not anticipated to generate any significant effects, either direct or indirect, on the district's population or population distribution as no additional workers are anticipated to be required to comply with the proposed amendments.  Human population within the jurisdiction of the SCAQMD is anticipated to grow regardless of implementing PAR 1146.2.  As such, PAR 1146.2 will not result in changes in population densities or induce significant growth in population.

XIII.b) & c)  Because the proposed project affects existing facilities located mostly in industrial and commercial areas, PAR 1146.2 is not expected to result in the creation of any industry that would affect population growth, directly or indirectly induce the construction of single- or multiple-family units, or require the displacement of people elsewhere.

Based upon these considerations, significant population and housing impacts are not expected from the implementation of PAR 1146.2 and are not further evaluated in this Final EA.  Since no significant population and housing impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XIV. PUBLIC SERVICES. Would the proposal result in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response times or other performance objectives for any of the following public services: |  |  |  |
| a) Fire protection? |  |  |  |
| b) Police protection? |  |  |  |
| c) Schools? |  |  |  |
| d) Parks? |  |  |  |
| e) Other public facilities? |  |  |  |

Significance Criteria

Impacts on public services will be considered significant if the project results in substantial adverse physical impacts associated with the provision of new or physically altered governmental facilities, or the need for new or physically altered government facilities, the construction of which could cause significant environmental impacts, in order to maintain acceptable service ratios, response time or other performance objectives.

Discussion

XIV.a) & b)  PAR 1146.2 would only affect new and existing natural gas-fired large water heaters, small boilers, and process heaters at existing facilities.  The expected options for compliance with the proposed future NOx emission limits in PAR 1146.2 will involve the installation of new equipment or the retrofitting of existing units with certified low NOx burners that will be compliant with fire department standards.  No other physical modifications or changes associated with the implementation of PAR 1146.2 are expected.  The overall amount of natural gas usage at any one facility over their current levels is not expected to change or increase the chances for fires or explosions.  Finally, PAR 1146.2 is not expected to have any adverse effects on local police departments because enforcement of the rule will be the responsibility of the SCAQMD.

XIV.c) & d)  The local labor pool (e.g., workforce) of particular affected facility areas is expected to remain the same since PAR 1146.2 would not trigger any changes to current facility operations.  Therefore, with no increase in local population anticipated, no significant adverse impacts are expected to local schools or parks.

XIV.e)  The proposed project will result in the use of replacing existing equipment with functionally identical new equipment or retrofitting existing equipment with certified low NOx burners at existing facilities.  Besides permitting the equipment or altering permit conditions, there is no other need for government services.  Implementation of PAR 1146.2 would not result in the need for new or physically altered government facilities in order to maintain acceptable service ratios, response times, or other performance objectives.  There will be no increase in population and, therefore, no need for physically altered government facilities.

Based upon these considerations, significant public services impacts are not expected from the implementation of PAR 1146.2 and are not further evaluated in this Final EA.  Since no significant public services impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XV. RECREATION. |  |  |  |
| a) Would the project increase the use of existing neighborhood and regional parks or other recreational facilities such that substantial physical deterioration of the facility would occur or be accelerated? |  |  |  |
| b) Does the project include recreational facilities or require the construction or expansion of recreational facilities that might have an adverse physical effect on the environment? |  |  |  |

Significance Criteria

Impacts to recreation will be considered significant if:

- The project results in an increased demand for neighborhood or regional parks or other recreational facilities.

- The project adversely effects existing recreational opportunities.

# Discussion

XV.a) & b)  As discussed under “Land Use and Planning” above, there are no provisions in the PAR 1146.2 that would affect land use plans, policies, or regulations.  Land use and other planning considerations are determined by local governments and no land use or planning requirements will be altered by the changes proposed in PAR 1146.2.  The proposed project would not increase the demand for or use of existing neighborhood and regional parks or other recreational facilities or require the construction of new or expansion of existing recreational facilities that might have an adverse physical effect on the environment because it will not directly or indirectly increase or redistribute population.

Based upon these considerations, significant recreation impacts are not expected from the implementation of PAR 1146.2 and are not further evaluated in this Final EA.  Since no significant recreation impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVI. SOLID/HAZARDOUS WASTE. Would the project: |  |  |  |
| - Be served by a landfill with sufficient permitted capacity to accommodate the project’s solid waste disposal needs? |  |  |  |
| - Comply with federal, state, and local statutes and regulations related to solid and hazardous waste? |  |  |  |

Significance Criteria

The proposed project impacts on solid/hazardous waste will be considered significant if the following occurs:

- The generation and disposal of hazardous and non-hazardous waste exceeds the capacity of designated landfills.

# Discussion

XVI.a) & b)  Implementation of PAR 1146.2 would require facility operators to install new compliant equipment or retrofitting existing equipment with certified low NOx burners beginning on or after January 1, 2010.  The date the lower NOx emission limits become effective as a result of implementing PAR 1146.2 coincides with the existing requirements in Rule 1146.2 that impose requirements based on age of the affected equipment (i.e., when the equipment will be 15 years old).  Fifteen years was chosen as the replacement or retrofit duration because this represent the average life cycle of this type of equipment.  Since current Rule 1146.2 and PAR 1146.2 both involve replacing older equipment with newer lower NOx emitting equipment or retrofitting existing equipment with low NOx burners between now and year 2027 (generally at the end of a unit’s useful lifetime), no new solid or hazardous waste impacts specifically associated with PAR 1146.2 are expected.  As a result, no change in the amount or character of solid or hazardous waste streams is expected to occur.  PAR 1146.2 is not expected to increase the volume of solid or hazardous wastes from affected facilities, require additional waste disposal capacity, or generate waste that does not meet applicable local, state, or federal regulations.

Based on these considerations, PAR 1146.2 is not expected to increase the volume of solid or hazardous wastes that cannot be handled by existing municipal or hazardous waste disposal facilities, or require additional waste disposal capacity.  Further, implementing PAR 1146.2 is not expected to interfere with any affected facility’s ability to comply with applicable local, state, or federal waste disposal regulations.  Since no solid/hazardous waste impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVII. TRANSPORTATION/TRAFFIC. Would the project: |  |  |  |
| - Cause an increase in traffic which is substantial in relation to the existing traffic load and capacity of the street system (i.e., result in a substantial increase in either the number of vehicle trips, the volume to capacity ratio on roads, or congestion at intersections)? |  |  |  |
| - Exceed, either individually or cumulatively, a level of service standard established by the county congestion management agency for designated roads or highways? |  |  |  |
| - Result in a change in air traffic patterns, including either an increase in traffic levels or a change in location that results in substantial safety risks? |  |  |  |
| - Substantially increase hazards due to a design feature (e.g. sharp curves or dangerous intersections) or incompatible uses (e.g. farm equipment)? |  |  |  |
| - Result in inadequate emergency access? |  |  |  |
| - Result in inadequate parking capacity? |  |  |  |
| - Conflict with adopted policies, plans, or programs supporting alternative transportation (e.g. bus turnouts, bicycle racks)? |  |  |  |

Significance Criteria

Impacts on transportation/traffic will be considered significant if any of the following criteria apply:

- Peak period levels on major arterials are disrupted to a point where level of service (LOS) is reduced to D, E or F for more than one month.

- An intersection’s volume to capacity ratio increase by 0.02 (two percent) or more when the LOS is already D, E or F.

- A major roadway is closed to all through traffic, and no alternate route is available.

- There is an increase in traffic that is substantial in relation to the existing traffic load and capacity of the street system.

- The demand for parking facilities is substantially increased.

- Water borne, rail car or air traffic is substantially altered.

- Traffic hazards to motor vehicles, bicyclists or pedestrians are substantially increased.

- The need for more than 350 employees

- An increase in heavy-duty transport truck traffic to and/or from the facility by more than 350 truck round trips per day

- Increase customer traffic by more than 700 visits per day.

# Discussion

XVII.a) & b) PAR 1146.2 affects natural gas-fired large water heaters, small boilers, and process heaters operating at existing facilities and has no potential to adversely affect transportation.  The expected options for compliance with the proposed future NOx emission limits in PAR 1146.2 will involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners.  PAR 1146.2 would have no affect on existing operations at the affected facilities that would change or cause additional transportation demands or services.  Therefore, since no additional construction- or operational-related trips are anticipated, the implementation of PAR 1146.2 is not expected to significantly adversely affect circulation patterns on local roadways or the level of service at intersections near affected facilities.

XVII.c)  The expected options for compliance with the proposed future NOx emission limits in PAR 1146.2 will involve the installation of new compliant equipment or the retrofitting of existing units with certified low NOx burners.  However, PAR 1146.2 will not require operators of existing facilities to construct buildings or other structures so the height and appearance of the existing structures are not expected to change.  Therefore, implementation of PAR 1146.2 is not expected to adversely affect air traffic patterns.  Further, PAR 1146.2 will not affect in any way air traffic in the region because it will not require transport of any materials by air.

XVII.d)  As the physical modifications that are expected to occur by implementing PAR 1146.2 are limited to the confines of existing facilities, no offsite modifications to roadways are anticipated for the proposed project that would result in an additional design hazard or incompatible uses.

XVII.e) Any equipment replacements or retrofits associated with implementing PAR 1146.2 will likely occur in or about the same location within the confines of each existing facility such that no changes to emergency access at or in the vicinity of the affected facilities would be expected.  As a result, PAR 1146.2 is not expected to adversely impact emergency access.

XVII.f) Other than the equipment replacements or retrofits associated with implementing PAR 1146.2, no changes to the parking capacity at or in the vicinity of the affected facilities are expected.  Further, PAR 1146.2 is not expected to require additional workers, so additional parking capacity will not be required.  Therefore, PAR 1146.2 is not expected to adversely impact on- or off-site parking capacity.

XVII.g) Other than the equipment replacements or retrofits associated with implementing PAR 1146.2, no facility modifications or changes are expected that would conflict with alternative transportation, such as bus turnouts, bicycle racks, et cetera.

Based upon these considerations, PAR 1146.2 is not expected to generate significant adverse transportation/traffic impacts and, therefore, this topic will not be considered further.  Since no significant transportation/traffic impacts were identified, no mitigation measures are necessary or required.

|  | Potentially Significant Impact | Less Than Significant Impact | No Impact |
| --- | --- | --- | --- |
| XVIII. MANDATORY FINDINGS OF SIGNIFICANCE. |  |  |  |
| a) Does the project have the potential to degrade the quality of the environment, substantially reduce the habitat of a fish or wildlife species, cause a fish or wildlife population to drop below self-sustaining levels, threaten to eliminate a plant or animal community, reduce the number or restrict the range of a rare or endangered plant or animal or eliminate important examples of the major periods of California history or prehistory? |  |  |  |
| - Does the project have impacts that are individually limited, but cumulatively considerable? ("Cumulatively considerable" means that the incremental effects of a project are considerable when viewed in connection with the effects of past projects, the effects of other current projects, and the effects of probable future projects) |  |  |  |
| c) Does the project have environmental effects that will cause substantial adverse effects on human beings, either directly or indirectly? |  |  |  |

XVIII.a)  As discussed in the “Biological Resources” section, PAR 1146.2 is not expected to significantly adversely affect plant or animal species or the habitat on which they rely because the affected equipment  are located at existing facilities in industrial or commercial areas which have already been greatly disturbed and that currently do not support such habitats.  Additionally, special status plants, animals, or natural communities are not expected to be found within close proximity to the facilities affected by PAR 1146.2.

XVIII.b)  Based on the foregoing analyses, since PAR 1146.2 will not generate any project-specific significant environmental impacts, PAR 1146.2 is not expected to cause cumulative impacts in conjunction with other projects that may occur concurrently with or subsequent to the proposed project.  Related projects to the currently proposed project include existing and proposed rules and regulations, as well as 2003 AQMP control measure CMB-10.  Furthermore, the effects of PAR 1146.2 will not be "cumulatively considerable" because there are no incremental impacts and there will be no contribution to a significant cumulative impact caused by other projects that would exist in absence of the proposed project.  For example, the environmental topics checked ‘No Impact’ (e.g., aesthetics, agriculture resources, biological resources, cultural resources, energy, geology and soils, hazards and hazardous materials, hydrology and water quality, land use and planning, mineral resources, noise, population and housing, public services, recreation, solid/hazardous waste and transportation and traffic) would not be expected to make any contribution to potential cumulative impacts whatsoever.  For the environmental topic checked ‘Less than Significant Impact’ (e.g., air quality), the analysis indicated that project impacts would not exceed any project-specific significance thresholds.  This conclusion is based on the fact that the analyses for each of these environmental areas concluded that the incremental effects of the proposed project would be minor and, therefore, not considered to be cumulatively considerable.  Also, in the case of air quality impacts, the net effect of implementing the proposed project with other proposed rules and regulations, and control measures in the 2003 AQMP is an overall reduction in district-wide emissions leading to the attainment of state and national ambient air quality standards.  Therefore, the proposed project has no potential for generating significant adverse cumulative or cumulatively considerable impacts.

XVIII.c)  Based on the foregoing analyses, PAR 1146.2 is not expected to cause adverse effects on human beings.  Significant air quality impacts are not expected from the implementation of PAR 1146.2.  The direct impact from the proposed project, however, is an air quality benefit with an overall NOx reduction of 1.8 tons per day or approximately 3,600 pounds of NOx per day by January 1, 2027.  Of these overall NOx emission reductions, 1.2 tons per day will be new net emission reductions and 0.6 ton per day will offset previous NOx emission reductions foregone between compliance years 2010 and 2014 resulting from the previous amendments to Rule 1146.2.  No impacts to aesthetics, agriculture resources, biological resources, cultural resources, energy, geology and soils, hazards and hazardous materials, hydrology and water quality, land use and planning, mineral resources, noise, population and housing, public services, recreation, solid/hazardous waste and transportation and traffic are expected as a result of the implementation of PAR 1146.2.

As discussed in items I through XVIII above, the proposed project has no potential to cause significant adverse environmental effects.

A P P E N D I X   A

P R O P O S E D   A M E N D E D   R U L E   1 1 4 6 . 2

In order to save space and avoid repetition, please refer to the latest version of proposed amended Rule 1146.2 located elsewhere in the rule amendment package.

The version “PAR 1146.2 March 16, 2006” of the proposed amended rule was circulated with the Draft Environmental Assessment that was released on March 23, 2006 for a 30-day public review and comment period ending April 21, 2006.

Original hard copies of the Draft Environmental Assessment, which include the version “PAR 1107 March 16, 2006” of the proposed amended rule, can be obtained through the SCAQMD Public Information Center at the Diamond Bar headquarters or by calling (909) 396-2039.

The Lewis-Presley Air Quality Management Act, 1976 Cal. Stats., ch 324 (codified at Health & Safety 
   Code, §§40400-40540).

Health & Safety Code, §40460 (a).

Health & Safety Code, §40440 (a).

The inventory calculations are located in the Final Staff Report for:  Proposed Rule 1146.2 – Emissions of Oxides
   of Nitrogen from Large Water Heaters and Small Boilers, December 1997, p. SR-12.

The inventory summary is located in the Staff Report for Proposed Amended Rule 1146.2 – Emissions of Oxides
   of Nitrogen from Large Water Heaters and Small Boilers, December 2004, Appendix A.