## Preparation
5 g/L Dilution Stock |  |  |  | Estimated LOD Study
Component | Volume | Mass (g) |  | Injection # | 0.1 g/L Triglyme Area Counts
25 mL Volumetric Flask | - |  |  | 1
Solvent (MeOH or THF) | ~10 mL |  |  | 2
BFB | 80 uL |  |  | 3
Triglyme | 130 uL |  |  | 4
QS to 25 mL | To 25 mL |  |  | 5
6
7
IOM
Component | Volume | Mass | Average AC |  | 0
25 mL Volumetric Flask | - |  | AC Standard Deviation |  | 0
Solvent (MeOH or THF) | ~10 mL |  | 3x AC Standard Deviation |  | 0
EGDE | 150 uL |  | Triglyme Concentration
Pentadecane | 100 uL |  | LOD (g/L) |  | 0
Tetradecane | 100 uL
Tridecane | 100 uL
Dodecane | 100 uL
Undecane | 100 uL
Decane | 100 uL
Nonane | 100 uL
Octane | 100 uL
Heptane | 100 uL
Hexane | 100 uL
Ethylene Glycol | 100 uL
Propylene Glycol | 100 uL
5 g/L Dilution Stock | 500 uL
Methyl Palmitate | 0.140 g
QS to 25 mL | To 25 mL

## Discrimination
Discrimination Profile
Select Solvent |  |  |  | Vol. Flask (ml) | [7 empty] | Normalize With
THF |  |  |  | 25 | [7 empty] | Decane
Pre-Sample
Contained In Standard | CAS | Manufacturer | Lot # | % Purity | Retention time | Area Counts | Area/Density | % of Normalized | Mass (g) | PA Mass (g) | Area/Mass | % of Normalized
Hexane | 110-3-3 | [7 empty] | 0 | 0
Heptane | 142-82-5 | [7 empty] | 0 | 0
Octane | 111-54-9 | [7 empty] | 0 | 0
Nonane | 111-82-2 | [7 empty] | 0 | 0
Decane | 124-65-5 | [7 empty] | 0 | 0
Undecane | 1120-84-4 | [7 empty] | 0 | 0
Dodecane | 112-18-3 | [7 empty] | 0 | 0
Tridecane | 629-21-5 | [7 empty] | 0 | 0
Tetradecane | 629-40-4 | [7 empty] | 0 | 0
Pentadecane | 629-50-9 | [7 empty] | 0 | 0
Ethylene Glycol | 107-59-1 |  |  | - |  |  |  |  | - | - | - | -
Propylene Glycol | 57-62-6 |  |  | - |  |  |  |  | - | - | - | -
EGDE | 629-21-1 | [7 empty] | - | - | - | -
Triglyme | 112-55-2 | [7 empty] | - | - | - | -
Methyl Palmitate | 112-14-0 |  |  | - |  |  |  |  | - | - | - | -
Post-Sample
Contained In Standard | CAS | Manufacturer | Lot # | % Purity | Retention time | Area Counts | Area/Density | % of Normalized | Mass (g) | PA Mass (g) | Area/Mass | % of Normalized
Hexane | 110-3-3 | [7 empty] | 0 | 0
Heptane | 142-82-5 | [7 empty] | 0 | 0
Octane | 111-54-9 | [7 empty] | 0 | 0
Nonane | 111-82-2 | [7 empty] | 0 | 0
Decane | 124-65-5 | [7 empty] | 0 | 0
Undecane | 1120-84-4 | [7 empty] | 0 | 0
Dodecane | 112-18-3 | [7 empty] | 0 | 0
Tridecane | 629-21-5 | [7 empty] | 0 | 0
Tetradecane | 629-40-4 | [7 empty] | 0 | 0
Pentadecane | 629-50-9 | [7 empty] | 0 | 0
Ethlyene Glycol | 107-59-1 |  |  | - |  |  |  |  | - | - | - | -
Propylene Glycol | 57-62-6 |  |  | - |  |  |  |  | - | - | - | -
EGDE | 629-21-1 | [7 empty] | - | - | - | -
Triglyme | 112-55-2 | [7 empty] | - | - | - | -
Methyl Palmitate | 112-14-0 |  |  | - |  |  |  |  | - | - | - | -
Peripheral Recoveries |  |  | Prepared (g/L) | Raw Counts |  |  |  |  | FID Retention Times (min)
Pre-Sample |  | EGDE | 0 | 0 |  |  |  |  | Pre-Sample |  |  | Post-Sample
|  | Triglyme |  | 0 |  | EGDE |  |  | 0 |  |  | 0
Post-Sample |  | EGDE | 0 | 0 |  | Methyl Palmitate |  |  | 0 |  |  | 0
|  | Triglyme |  | 0